## Slide 1: Bridgewater Water Forum June 23, 2026

## Slide 2: Where we were
Historically, the town has relied on well 10B—treated yet unfiltered—to satisfy the ongoing demand placed on our water system.
Whenever tank storage levels ran low, 10B was brought online to keep up with demand while simultaneously restoring tank levels.
Because iron and manganese went unfiltered, this well became the source of many of our most significant discolored-water complaints.
This recurring practice is clearly illustrated in the chart that follows.
Notes: Prior to October 2025, the town was using well 10B, which was treated but not filtered, to supplement the demand of the system.
During times when tank storage levels were low, 10B would be activated to meet demand but also replenish the tanks.
Because iron and manganese were not treated. This is where many of the largest complaints about discolored water originated.
Once the tanks got to safe levels for fire protection, well 10B would be deactivated, causing the tanks to drop.
This was a regular habitual process, which is reflected in the following chart.

## Slide 3: Well 10B Activation
Notes: 52% of the time these wells have been online through 2025 69/132 months

## Slide 4: Where we were
No annual flushing program was in place, though flushing is recommended twice a year.
Wells have run constantly with little chance to rest while meeting demand; combined with drought conditions, this has reduced well performance.
Little has been done to expand water capacity over the past decade.
Notes: Prior to October 2025, the town was using well 10B, which was treated but not filtered, to supplement the demand of the system.
During times when tank storage levels were low, 10B would be activated to meet demand but also replenish the tanks.
Because iron and manganese were not treated. This is where many of the largest complaints about discolored water originated.
Once the tanks got to safe levels for fire protection, well 10B would be deactivated, causing the tanks to drop.
This was a regular habitual process, which is reflected in the following chart.

## Slide 5: Where we are
To curb its reliance on 10B, the Town set up an interconnection with the Town of Middleborough (10B has gone unused since October 2025). Established in January, the arrangement is one that the Town intends to seek an extension for in July.
The Town is operating under an emergency declaration it requested from MassDEP. MassDEP approved a six-month extension this June.
Throughout the past six months, the Town has held firm that no new water tie-ins for non-prior-approved projects will be permitted during this emergency declaration.

## Slide 6: Where we are
Between January and the present, the Town has used this time to:
  Redevelop wells 3, 5, and 6
  Performed routine maintenance on wells 5 and 8
  Replaced the motor and pump on well 9 and the pump on well 5
  Flushed the water mains to clear sediment and resolve discolored-water complaints
  Applied for and secured a $2M grant to help offset costs tied to the Plymouth Street project
  Determined the best path for bringing Wells 10A & 10B online, which is to build a treatment facility that addresses iron, manganese, and PFAS.
    Iron and manganese phase: completion anticipated by mid-July
    PFAS phase: anticipated for late summer (August/September)

## Slide 7: Where we are going
Construct
The Town will finalize construction of the treatment facility that will allow Wells 10A & 10B to be utilized.
Continue
The Town will continue to advocate for additional financial resources at the federal and state levels to mitigate costs and continue infrastructure improvements.
Explore
The Town will continue to add to its water capacity, by transitioning to development of the Vernon Street wells and explore additional future water supply for the future.

## Slide 8: Closing Message/Our Commitment
What Success Looks Like — Outcomes We're Working Toward
Safe and reliable drinking water.
Continued infrastructure investment that improves both water quality and capacity.
Increased public confidence.
Long-term system resilience.
We have made significant progress since petitioning for a water emergency. Important work remains, but our mission is clear: strengthen the water system, pursue short, intermediate-, and long-term solutions, and secure a more resilient future for our community.